## Sheet1
study.id | panel.id | lab.id | user.id | detector.order | laser | excitation | emission | detector.peak | marker | marker.alias | fluor | fluor.alias | parameter | clone | vendor | platform | catalog | lot | concentration | titration | titration.note | location | Amount left 2/4/25
FITpheno | CD4pheno | Scheible | Jordan McMurry | 1 | UV | 355 |  | UV1
FITpheno | CD4pheno | Scheible | Jordan McMurry | 2 | UV | 355 | 395 | UV2 | CD45RA |  | BUV395 |  | CD45RA_BUV395 | 5H9 | BD | OptiBuild | 740315 | 4261081 | 50 ug; 0.25mL; 2 mg/mL | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 3 | UV | 355 |  | UV3
FITpheno | CD4pheno | Scheible | Jordan McMurry | 4 | UV | 355 |  | UV4
FITpheno | CD4pheno | Scheible | Jordan McMurry | 5 | UV | 355 |  | UV5
FITpheno | CD4pheno | Scheible | Jordan McMurry | 6 | UV | 355 |  | UV6 | Viability |  | LIVEDEADBlue |  | Viability_LIVEDEADBlue | [6 empty] | 0.002 | test/total volume dilution 1:500 | viability
FITpheno | CD4pheno | Scheible | Jordan McMurry | 7 | UV | 355 | 500 | UV7 | CD4 |  | BUV496 |  | CD4_BUV496 | SK3 | BD | Horizon | 612936 | 4204806 | 0.5 ml, 5 ul/test, 12 ug/ml | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 8 | UV | 355 |  | UV8
FITpheno | CD4pheno | Scheible | Jordan McMurry | 9 | UV | 355 | 570 | UV9 | CD161 | KLRB1 | BUV563 |  | CD161_BUV563 | DX12 | BD | OptiBuild | 748949 | 5177083 | 50 ug; 0.25mL; 2 mg/mL | 1.5 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 10 | UV | 355 | 600 | UV10 | CD28 |  | BUV615 |  | CD28_BUV615 | 28.2 | BD Biosciences | Optibuild | 751477 |  |  | 1.5 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 11 | UV | 355 | 660 | UV11 | KLRG1 |  | BUV661 |  | KLRG1_BUV661 | Z7-205.rMab | BD | OptiBuild | 753693 | 4261102 | 50 ug; 0.25mL; 2 mg/mL | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 12 | UV | 355 |  | UV12
FITpheno | CD4pheno | Scheible | Jordan McMurry | 13 | UV | 355 | 750 | UV13
FITpheno | CD4pheno | Scheible | Jordan McMurry | 14 | UV | 355 | 750 | UV14 | IFNγ |  | BUV737 |  | IFNg_BUV737 | 4S.B3 | BD | Horizon | 612845 | 2110874 | 0.25 ml; 5 ul/test; 100 ug/ml | 1 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 15 | UV | 355 |  | UV15
FITpheno | CD4pheno | Scheible | Jordan McMurry | 16 | UV | 355 | 800 | UV16 | CD127 | IL-7Ra | BUV805 |  | CD127_BUV805 | HIL-7R-M21 | BD Biosciences | Optibuild | 748486 |  |  | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 17 | V | 405 | 420 | V1 | CD197 | CCR7 | BV421 |  | CD197_BV421 | G043H7 | BioLegend |  | 353208 | B474453 | 140 ug/ml; 5ul/test | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 18 | V | 405 |  | V2
FITpheno | CD4pheno | Scheible | Jordan McMurry | 19 | V | 405 | 450 | V3 | CD57 |  | Pacific Blue |  | CD57_PacificBlue | HCD57 | BioLegend |  | 322316 | B159168 |  | 1 | to be titrated | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 20 | V | 405 |  | V4
FITpheno | CD4pheno | Scheible | Jordan McMurry | 21 | V | 405 | 500 | V5 | CD31 | PECAM-1 | cFluor V475 |  | CD31_cFluorV475 | WM59 | CytekBio |  | R7-21045 |  |  | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 22 | V | 405 |  | V6
FITpheno | CD4pheno | Scheible | Jordan McMurry | 23 | V | 405 | 510 | V7 | CD3 |  | BV510 |  | CD3_BV510 | UCHT1 | BD | OptiBuild | 740202 | 3011870 | 50 ug; 0.25 ml; 0.2 mg/ml | 1 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 24 | V | 405 | 605 | V8 | CD45RO |  | BV570 |  | CD45RO_BV570 | UCHL1 | BioLegend |  | 304226 | B393149 | 400 ug/ml; 5ul/test | 0.5 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 25 | V | 405 |  | V9
FITpheno | CD4pheno | Scheible | Jordan McMurry | 26 | V | 405 | 600 | V10 | IL-4 |  | BV605 |  | IL4_BV605 | MP4-25D2 | Biolegend |  | 500828 | B433051 |  | 1 | to be titrated | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 27 | V | 405 | 660 | V11 | IL-17α |  | BV650 |  | IL17A_BV650 | N49-653 | BD | Horizon | 563746 | 4057970 | 0.25 ml; 5 ul/test; 100 ug/ml | 0.5 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 28 | V | 405 |  | V12
FITpheno | CD4pheno | Scheible | Jordan McMurry | 29 | V | 405 | 700 | V13 | CD279 | PD-1 | BV711 |  | CD279_BV711 | EH12.2H7 | Biolegend |  | 329928 | B233391 |  | 1 | to be titrated | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 30 | V | 405 | 750 | V14 | TNFα |  | BV750 |  | TNFa_BV750 | MAb11 | BD | Horizon | 566359 | 4198120 | 50 ug; 0.25 ml; 0.2 mg/ml | 0.5 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 31 | V | 405 | 780 | V15 | CD56 | NCAM-1 | BV785 |  | CD56_BV785 | 5.1H11 | BioLegend |  | 362550 | B427547 | 100 ug/ml; 5ul/test | 0.5 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 32 | V | 405 |  | V16
FITpheno | CD4pheno | Scheible | Jordan McMurry | 33 | B | 488 |  | B1
FITpheno | CD4pheno | Scheible | Jordan McMurry | 34 | B | 488 | 520 | B2 | CD8α |  | cFluor B532 |  | CD8a_cFluor532 | SK1 | Cytek |  | R7-20123 | C0087040924R7 | 5ul/test | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 35 | B | 488 | 550 | B3 | CD5 |  | RB545 |  | CD5_RB545 | UCHT2 | BD Biosciences | Horizon | 569751 |  |  | 0.5 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 36 | B | 488 |  | B4
FITpheno | CD4pheno | Scheible | Jordan McMurry | 37 | B | 488 |  | B5
FITpheno | CD4pheno | Scheible | Jordan McMurry | 38 | B | 488 | 613 | B6
FITpheno | CD4pheno | Scheible | Jordan McMurry | 39 | B | 488 | 613 | B7
FITpheno | CD4pheno | Scheible | Jordan McMurry | 40 | B | 488 | 613 | B8
FITpheno | CD4pheno | Scheible | Jordan McMurry | 41 | B | 488 |  | B9 | CD25 | IL-2Ra | PerCP-Cy5.5 |  | CD25_PerCPCy5_5 | BC96 | Biolegend |  | 302626 | E029195 |  | 1 | to be titrated | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 42 | B | 488 | 700 | B10 | CD38 |  | RB705 |  | CD38_RB705 | HB7 | [5 empty] | 1 | to be titrated | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 43 | B | 488 |  | B11
FITpheno | CD4pheno | Scheible | Jordan McMurry | 44 | B | 488 |  | B12
FITpheno | CD4pheno | Scheible | Jordan McMurry | 45 | B | 488 |  | B13
FITpheno | CD4pheno | Scheible | Jordan McMurry | 46 | B | 488 | 800 | B14 | CD69 |  | RB780 |  | CD69_RB780 | FN50 | BD | Horizon | 568754 | 5112897 | 0.5 ml; 5 ul/test; 200 ug/ml | 0.15 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 47 | YG | 561 | 570 | YG1 | Ki67 |  | PE |  | Ki67_PE | ? | BioLegend |  | 350504 | B180057 |  | 1 | to be titrated | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 48 | YG | 561 |  | YG2
FITpheno | CD4pheno | Scheible | Jordan McMurry | 49 | YG | 561 | 600 | YG3 | IL-8 |  | PE-CF594 |  | IL8_PECF594 | G265-8 | BD | Horizon | 563531 | 3324615 | 0.25 ml; 5 ul/test; 100 ug/ml | 1 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 50 | YG | 561 |  | YG4
FITpheno | CD4pheno | Scheible | Jordan McMurry | 51 | YG | 561 |  | YG5 | FOXP3 |  | PE-Cy5 |  | FOXP3_PECy5 | PCH101 | Invitrogen |  | 15-4776-41 | 3158318 |  | 1 | to be titrated | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 52 | YG | 561 |  | YG6
FITpheno | CD4pheno | Scheible | Jordan McMurry | 53 | YG | 561 | 700 | YG7 | CD337 | NKp30 | RY703 |  | CD337_RY703 | p30-15 | BD | OptiBuild | 771944 | 5174809 | 50 ug; 0.25mL; 2 mg/mL | 0.625 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 54 | YG | 561 |  | YG8
FITpheno | CD4pheno | Scheible | Jordan McMurry | 55 | YG | 561 | 780 | YG9 | CD218a | IL18Ra | PE-Cy7 |  | CD218a_PECy7 | H44 | BioLegend |  | 313812 | B380518 | 200 ug/ml | 2 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 56 | YG | 561 |  | YG10
FITpheno | CD4pheno | Scheible | Jordan McMurry | 57 | R | 640 | 660 | R1 | TCRγδ |  | APC |  | TCRgd_APC | B1 | BD | Pharmingen | 555718 | 4150595 | 0.1 mg; 0.5ml; 0.2mg/ml | 2 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 58 | R | 640 | 680 | R2 | PLZF |  | Alexa Fluor 647 |  | PLZF_AlexaFluor647 | R17-809 | BD | Pharmingen | 563490 | 3228159 | 50 ug; 0.25 ml; 0.2 mg/ml | 0.5 |  | intracellular
FITpheno | CD4pheno | Scheible | Jordan McMurry | 59 | R | 640 |  | R3
FITpheno | CD4pheno | Scheible | Jordan McMurry | 60 | R | 640 | 738 | R4 | CD49a | alpha1 | R718 |  | CD49a_R718 | SR84 | [5 empty] | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 61 | R | 640 |  | R5
FITpheno | CD4pheno | Scheible | Jordan McMurry | 62 | R | 640 |  | R6
FITpheno | CD4pheno | Scheible | Jordan McMurry | 63 | R | 640 | 780 | R7 | CD27 |  | APC-H7 |  | CD27_APCH7 | M-T271 | BD | Pharmingen | 560222 | 2159205 | 0.5 ml; 5 ul/test; 50 ug/ml | 1 |  | surface
FITpheno | CD4pheno | Scheible | Jordan McMurry | 64 | R | 640 |  | R8 | CD95 | FAS | APC-Fire 810 |  | CD95_APCFire810 | DX2 | Biolegend |  | 305663 |  |  | 0.5 |  | surface